March 4 Meeting Discussion Points – 7 Ware

Basic Design – Option A

Basement

Plumbing for washer, venting for dryer and electrical for both; ordering both appliances; creation of framed wine-room size & details unspecified

First Level

Enclosed Porch: Include enclosed porch modeled after 44 Brookside; access to enclosed porch from dining room via French doors and from master bedroom with single door

Great Room: Fireplace hearth in great room flush with wall

Butler’s Pantry: Eliminate pocket door from butler’s pantry into dining room; extend countertop and cabinets along wall where pocket door previously located; open shelving (Inter Metro) on wall separating butler’s pantry and Great Room; eliminate closets in butler’s pantry and convert to coat closet accessible from main entry hall

Mudroom: Eliminate half bathroom; did we discuss using the space for a utility closet for cleaning supplies, vacuum, etc.?

Kitchen: Eliminate bench seating and under bench seating built-in storage areas; kitchen ceiling to include center area with higher ceiling in center (please note picture) thereby allowing all upper kitchen cabinets to have sofit above and avoid dust collecting areas; include bar sink on one end of kitchen island (not in middle); kitchen island rectangular and only for working

Main Entry Area: Eliminate columns and extend fieldstone walls with arch if possible similar to 44 Brookside

Garage: Include drop down stairs allowing for use of area above garage for storage

Second Level

Master Bedroom: Eliminate fireplace; add built-in drawers on both sides of 10’ closet

Upstairs Hallway: Where is the space to include oversize, built-in drawers to store bulky items?

Laundry Room: Extra wide door entry; side by side full washer (front load) and dryer; add rack for short hanging and pole for long hang garments; how best to reconfigure laundry room with Inter Metro shelving/laundry rack; your ideas?

Bathroom 1: We have decided to eliminate the tub in the Jack & Jill bathroom. Please keep the shower as shown in current plan with walk-in, rain-fall shower and hand-held device option, and the bench seat. We think it will be possible for young children and adults to bathe and shower comfortably.